## Thu Mar 24 2016_Thu Mar 24 2016
Format this column as a date to get timezone-converted datestamps. The timestamp format is in UTC milliseconds since 1/1/1970 00:00:00.
UTC timezone Offset(GMT offset -- e.g. US PST time is GMT-7 so use -7. Brisbane Australia is GMT+10 so use 10) | 0
datestamp | timestamp | Battery Voltage | Input Voltage | Output Current | kWh | Watts | Input Current | Total kWh | Total Amp Hours | Battery Temperature | FET Temperature | PCB Temperature | Charge Stage | WBJr SOC | WbJr AH(+) | WbJr AH (-) | WbJr AH (net) | WbJr AH Remaing | WbJr Amps
42453.6702 | 1458835502839 | 26.7 | 44.1 | 11.8 | 1.8 | 317 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11.2
42453.6702 | 1458835504839 | 26.7 | 44.1 | 11.8 | 1.8 | 317 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6702 | 1458835506839 | 26.7 | 44.1 | 11.8 | 1.8 | 317 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6703 | 1458835508839 | 26.7 | 44.1 | 11.8 | 1.8 | 317 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11.2
42453.6703 | 1458835510839 | 26.7 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11.2
42453.6703 | 1458835512839 | 26.7 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6703 | 1458835514839 | 26.7 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6704 | 1458835516839 | 26.7 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11.2
42453.6704 | 1458835518839 | 26.7 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11.2
42453.6704 | 1458835520839 | 26.7 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11.2
42453.6704 | 1458835522839 | 26.7 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11.2
42453.6704 | 1458835524839 | 26.7 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11.2
42453.6705 | 1458835526839 | 26.7 | 44.1 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11.2
42453.6705 | 1458835528839 | 26.7 | 44.1 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 485 | 10.9
42453.6705 | 1458835530839 | 26.7 | 44 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 10.9
42453.6705 | 1458835532839 | 26.7 | 44 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 10.9
42453.6706 | 1458835534839 | 26.7 | 44 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 485 | 10.9
42453.6706 | 1458835536839 | 26.7 | 44 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.2 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6706 | 1458835538839 | 26.7 | 44 | 11.6 | 1.8 | 312 | 6.8 | 1397.5 | 51840 | 11.3 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6706 | 1458835540839 | 26.7 | 44 | 11.6 | 1.8 | 312 | 6.8 | 1397.5 | 51840 | 11.3 | 31.7 | 35.8 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6707 | 1458835542839 | 26.7 | 44 | 11.6 | 1.8 | 312 | 6.8 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6707 | 1458835544839 | 26.7 | 44 | 11.6 | 1.8 | 312 | 6.8 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 11
42453.6707 | 1458835546839 | 26.7 | 44 | 11.5 | 1.8 | 309 | 6.8 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 11
42453.6707 | 1458835548839 | 26.7 | 44 | 11.5 | 1.8 | 309 | 6.8 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6708 | 1458835550839 | 26.7 | 44 | 11.5 | 1.8 | 309 | 6.8 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6708 | 1458835552839 | 26.7 | 44 | 11.5 | 1.8 | 309 | 6.8 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 11
42453.6708 | 1458835554839 | 26.7 | 44 | 11.5 | 1.8 | 309 | 6.8 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 11
42453.6708 | 1458835556839 | 26.7 | 44 | 11.5 | 1.8 | 309 | 6.8 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 10.9
42453.6708 | 1458835558839 | 26.7 | 44 | 11.5 | 1.8 | 309 | 6.8 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 10.9
42453.6709 | 1458835560839 | 26.7 | 44 | 11.5 | 1.8 | 309 | 6.8 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6709 | 1458835562839 | 26.7 | 44.1 | 11.6 | 1.8 | 312 | 6.8 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 484 | 11
42453.6709 | 1458835564839 | 26.7 | 44.1 | 11.6 | 1.8 | 312 | 6.8 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 11.1
42453.6709 | 1458835566839 | 26.7 | 44.1 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 11.1
42453.671 | 1458835568839 | 26.7 | 44.1 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 11.2
42453.671 | 1458835570839 | 26.7 | 44.1 | 11.7 | 1.8 | 313 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 11.2
42453.671 | 1458835572839 | 26.7 | 44.1 | 11.7 | 1.8 | 313 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 11.2
42453.671 | 1458835574839 | 26.7 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34904 | -29074 | -45 | 485 | 11.2
42453.6711 | 1458835576839 | 26.7 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.2
42453.6711 | 1458835578839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 7 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.2
42453.6711 | 1458835580839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 7 | 1397.5 | 51840 | 11.2 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.3
42453.6711 | 1458835582839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 7 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.3
42453.6711 | 1458835584839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 7 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.2
42453.6712 | 1458835586839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.2
42453.6712 | 1458835588839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.3
42453.6712 | 1458835590839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 7 | 1397.5 | 51840 | 11.3 | 31.7 | 36 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.3
42453.6712 | 1458835592839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 7 | 1397.5 | 51840 | 11.3 | 31.7 | 36 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.3
42453.6713 | 1458835594839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 7 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.3
42453.6713 | 1458835596839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 7 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.3
42453.6713 | 1458835598839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 7 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.3
42453.6713 | 1458835600839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.3
42453.6714 | 1458835602839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.2
42453.6714 | 1458835604839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 7 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.2
42453.6714 | 1458835606839 | 26.8 | 44.1 | 11.8 | 1.8 | 317 | 7 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.2
42453.6714 | 1458835608839 | 26.8 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.2
42453.6714 | 1458835610839 | 26.8 | 44.1 | 11.7 | 1.8 | 314 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.2
42453.6715 | 1458835612839 | 26.8 | 44.1 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11.2
42453.6715 | 1458835614839 | 26.8 | 44.1 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 10.9
42453.6715 | 1458835616839 | 26.8 | 44.1 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 10.9
42453.6715 | 1458835618839 | 26.8 | 44.1 | 11.6 | 1.8 | 312 | 6.9 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11
42453.6716 | 1458835620839 | 26.8 | 44.1 | 11.5 | 1.8 | 309 | 6.8 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11
42453.6716 | 1458835622839 | 26.8 | 44.1 | 11.5 | 1.8 | 309 | 6.8 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11
42453.6716 | 1458835624839 | 26.7 | 44 | 11.5 | 1.8 | 309 | 6.7 | 1397.5 | 51840 | 11.3 | 31.7 | 36 | 4 | 83 | 34905 | -29074 | -45 | 485 | 11
42453.6716 | 1458835626839 | 26.7 | 44 | 11.5 | 1.8 | 309 | 6.7 | 1397.5 | 51840 | 11.3 | 31.7 | 36 | 4 | 83 | 34905 | -29074 | -45 | 485 | 10.9
42453.6717 | 1458835628839 | 26.7 | 44.1 | 11.4 | 1.8 | 306 | 6.7 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 10.9
42453.6717 | 1458835630839 | 26.7 | 44.1 | 11.4 | 1.8 | 306 | 6.7 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 10.9
42453.6717 | 1458835632839 | 26.7 | 44 | 11.4 | 1.8 | 306 | 6.7 | 1397.5 | 51840 | 11.4 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 10.9
42453.6717 | 1458835634839 | 26.7 | 44 | 11.4 | 1.8 | 306 | 6.7 | 1397.5 | 51840 | 11.4 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 486 | 10.8
42453.6717 | 1458835636839 | 26.7 | 44 | 11.4 | 1.8 | 305 | 6.7 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 486 | 10.8
42453.6718 | 1458835638839 | 26.7 | 44 | 11.4 | 1.8 | 305 | 6.7 | 1397.5 | 51840 | 11.3 | 31.7 | 35.9 | 4 | 83 | 34905 | -29074 | -45 | 485 | 10.8
#REF! | 1458835640839 | 26.7 | 44 | 11.4 | 1.8 | 306 | 6.6 | 1397.5 | 51840 | 11.3 | 31.7 | 36 | 4 | 83 | 34905 | -29074 | -45 | 485 | 10.8